## Tabelle1
plugin name | contained in official setup | 3rd party SDK required | 3rd party driver required | depends on another plugin | Bit | 3rd party SDK included in sources (in accordance to license or confirmation of manufacturer) | binaries of SDK shipped with setup (in lib-folder) | itom 3.1.0 (2018-01-19)
[8 empty] | Version SDK | tested | compiled | Note
AerotechA3200 | x | yes | ?? |  | 32 | static libraries included for 32bit (only) | yes (AeroBasic*.dll) | unknown |  | yes
aerotechEnsemble | x | yes | yes |  | 32/64 | SDK included, drivers not included (not allowed) | yes (Ensemble*.dll) | "4.6.1.10" |  | yes
AndorSDK3 | x | yes (Andor SDK3) | yes |  | 32/64 | no | yes (atcl_bitflow.dll, atcore.dll, atdevregcam.dll) | 3.8.30007.0 |  | yes
avantesAvaSpec | x | no | no | libUSB | 32/64 | - | no |  | yes | yes
avtVimba | x | yes | yes |  | 32/64 | no | yes (VimbaC.dll, VimbaCPP.dll) | 2003-01-02 | no | yes
basicFilters | x | no | no |  | 32/64 | - | no |  | yes | yes
basicGPLFilters | x | no | no |  | 32/64 | - | no
cmu1394 | x | no | yes (free from internet) |  | 32/64 | yes (header, library and runtime) - LGPL | yes (1394camera.dll) | 6.4.6.240 |  | yes
commonVisionBlox | x | yes (proprietary) | yes |  | 32/64 | no | no | 13.00.004 | no | yes
CyUSB | x | yes | yes |  | 32/64 | no | no | 2003-03-01 |  | yes
dataObjectArithmetic | x | no | no |  | 32/64 | - | no |  | yes | yes
dataObjectIO | x | no | no |  | 32/64 | - | no |  | yes | yes
demoAlgorithms | x | no | no |  | 32/64 | - | no |  | yes | yes
dispWindow | x | Qt OpenGL | no |  | 32/64 | - | no |  | yes | yes
dummyGrabber | x | no | no |  | 32/64 | - | no |  | yes | yes
dummyMotor | x | no | no |  | 32/64 | - | no |  | yes | yes
DslrRemote | no |  |  |  | 32/64 |  | no |  |  | yes
DSLRRemote2 | no |  |  |  | 32/64 |  | no |  |  | yes
FFTWfilters | x | yes | no |  | 32/64 | no | yes (libfftw3-3.dll, libfftw3f-3.dll) | FFTW 3.3.5 | yes | yes
fileGrabber | x | no | no |  | 32/64 | - | no |  | yes | yes
fireGrabber | x | no | no |  | 32/64 | - | no |  | yes | yes
FirgelliLAC | x | yes | yes |  | 32 | yes (header and runtime) | no |  | yes | yes
fittingFilters | x | no | no |  | 32/64 | - | yes (libblas.dll, libgcc*.dll, libgfortran*.dll, liblapack*.dll, libquadmath*.dll, libtmglib.dll, libwinpthread*.dll) |  | yes | yes
FringeProj | x | Qt OpenGL | no |  | 32/64 | - | no |  | yes | yes
genicam | x | yes | transport layer from camera manufacturer |  | 32/64 | no | yes (*_MD_VC120_v3_*.dll, CLSerCOM.dll) | 3.0.2 | yes | yes
glDisplay | x | Qt OpenGL | no |  | 32/64 | - | no |  | yes | yes
gwInstekPSP | x | no | no | serialIO | 32/64 | - | no |  | yes | yes
hidApi | x | hidApi | no |  | 32/64 | yes - will be compiled with plugin (BSD licensed) | no | 0.7.0 |  | yes
Holography | no | no |  |  | 32/64 |  | no |  |  | yes
IDSuEyeCamera | x | yes | yes |  | 32/64 | optionally, yes (header and library only) | no | 4.90.3 | yes | yes
leicaMotorFocus | x | no | no | serialIO | 32/64 | - | no |  |  | yes
LibModBus | x | no | no |  | 32/64 | yes - sources (GPL) of libmodbus will be compiled with plugin | no | 3.1.2 |  | yes
libUSB | x | yes | yes |  | 32/64 | no | no | 1.0.21 |  | yes
MeasurementComputing | x | yes | yes |  | 32/64 | no | yes (cbw*.dll) |  | yes | yes
msMediaFoundation | x | no | no |  | 32/64 | - | no |  |  | yes
NanotecStepMotor | x | no | no | serialIO | 32/64 | - | no |  |  | yes
NI-DAQmx | x | yes | yes (NIDAQmx) |  | 32/64 | no | no | "17.6.0"
NITWidySWIR | x | yes | yes (NITLibrary + OpenCV 2.49) |  | 32/64 | no | yes (NITLibrary.dll) | "1.15" | yes | yes
openCVFilters | x | OpenCV (default) | no |  | 32/64 | - | no | "3.20.0" | yes | yes
openCVFiltersNonFree | no | yes |  |  | 32/64 |  | no | "3.20.0" | no | no
openCVGrabber | x | OpenCV (default) | no |  | 32/64 | - | no | "3.20.0" | yes | yes
pclTools | x | PCL (default) | no |  | 32/64 | - | no | "1.8.0" | yes | yes
pcoCamera | x | yes | yes (pco.sdk) |  | 32/64 | no | no | "1.23" |  | yes
pcoPixelFly | x | yes | yes (pco.pixelfly qe drivers) |  | 32/64 | yes (only header files) | no | 2.01.03 |  | yes
pcoSensicam | x | yes | yes (pco.sensicam) |  | 32/64 | no | yes (SC2_Cam.dll) | "1.23" | yes | yes
pgrFlyCapture | x | yes | yes (FlyCapture SDK) |  | 32/64 | no | yes (FlyCapture2_*.dll, libiomp5md.dll) | "2.11.3.425" | yes | yes
piezosystemJena_NV40_1 | x | no | no | serialIO | 32/64 | - | no |  |  | yes
piGCS2 | x | yes | no |  | 32/64 | yes (header, library and runtime) | yes (PI_GCS2_DLL_*.dll) |  | yes | yes
pmdPico | no | yes |  |  | 32/64 |  | no | "3.11.0.42" | yes | yes
piPiezoCtrl | x | no | no | serialIO | 32/64 | - | no |  | yes | yes
qCam | x | yes | yes |  | 32/64 | yes (header, library) | no | "2.0.13.1" |  | yes
rawImport | x | yes (dcraw) | no |  | 32/64 | yes (dcraw, compiled with plugin) | yes (dcraw.exe) |  | yes | yes
roughness | x | no | no |  | 32/64 | - | no |  | yes | yes
serialIO | x | no |  |  | 32/64 | - | no |  | yes | yes
ST8SMC4USB (Standa) | x | yes | yes |  | 32/64 | yes | yes (libximc.dll) |  |  | yes
SuperlumBL | x | no | no | serialIO | 32/64 | - | no |  | yes | yes
SuperlumBS | x | no | no | serialIO | 32/64 | - | no |  | yes | yes
ThorlabsBP | x | yes | yes (Kinesis) |  | 32/64 | no | yes (Thorlabs.MotionControl.*.dll) | "1.14.5" |  | yes | Kinesis
ThorlabsDCxCam | no | yes |  |  | 32/64 |  | no | "4.20" | yes | yes
thorlabsCCS | x | yes | yes (Thorlabs, IVI, VISA) |  | 32/64 | no | no | "2.80" | yes | yes
ThorlabsISM | x | yes | yes (Kinesis) |  | 32/64 | no | yes (Thorlabs.MotionControl.*.dll) | "1.14.5" |  | yes | Kinesis
thorlabsPowerMeter | x | yes | yes (Thorlabs PM100 VISA) |  | 32/64 | no | no | "1.0.2" |  | yes | Version "1.0.2" is the current version. Thorlabs reduces from V3 to V1
uhlRegister | x | no | no | serialIO | 32/64 | - | no |  | yes | yes
uhlText | x | no | no | serialIO | 32/64 | - | no |  | yes | yes
usbMotion3XIII | x | no | no |  | 32/64 | yes | yes (USB3xIII*.dll in plugin directory) | 2.1.0 | yes | yes
v4l2 | no |  |  |  | 32/64 (linux only) |  | no |  |  | yes
vistek | x | yes | yes |  | 32/64 | yes (header and runtime) | yes (SVGigE*.dll) | "1.5.5" | yes | yes
VRMagic | x | yes | yes (VRmUsbCamSDK) |  | 32/64 | no | yes (vrmusbcam2.dll) | "4.5.0" | yes | yes
x3pio | x | yes | no |  | 32/64 | no | yes (iso5436_2.xsd, xerces-c*.dll, iso5436-2-xml*.dll) | "4.0.0" | yes | yes
ximea | x | yes | yes |  | 32/64 | no | yes (xiapi.dll, m3api*.dll) | "4.15" | yes | yes